## Slide 1: Introducing LetsGrow
Wei FANG
NTU_BME and Global ATGS
National Taiwan University
2022/03/16
A psychrometric software
[ATGS 7140] Plant Factory – Theory and Practice
[ANISCI7047] Smart Production of Livestock
https://gpe.letsgrow.com/psychro

## Slide 2
Psychrometrics
Simulation models
Radiation monitor

## Slide 4
1 ATM = sea level, altitude = 0 m
RH inside stomata is 100%
This is AHdif
This is AHD
or HD
= VPsat - VP
AHdif>0 to ensure water vapor inside stomata can be escaped to outside
This is VPdif

## Slide 5
Micro-climate
AHdif>0 to ensure water vapor move away from crop canopy
= VPsat - VP
This is AHdif
AHD is not equal to AHdif , AHD is the AH@Tsat – AH@Tdb
VPD is not equal to VPdif, VPD is the VP@Tsat – VP@Tdb
This is VPdif

## Slide 6
Detail
version

## Slide 7
Simplify
version

## Slide 8: Geo location
Bring in the outdoor T and RH info from worldwide weather station into the psychrometric software

## Slide 11
Click on this icon can bring the weather condition to the Psychro software

## Slide 13: Three Extra Analysis

## Slide 14: Energy Balance
ExtraHeat = (Radiation*Transmittance) – (U*dT)
=[500*0.8 - 0*(30-18)]*3600/1000 kJ/m2.h
∆Enthalpy=87.54-40.61=46.93 kJ/kg
Ventilation=ExtraHeat/∆Enthalpy
=400*3.6/46.93=30.69 kg/m2.h
ExtraHeat=[500*0.8 - 10*(30-18)]*3600/1000 kJ/m2.h
Ventilation=ExtraHeat/∆Enthalpy=(400-120)/46.93=21.48
Based on outside and inside conditions defined previously

## Slide 15
Value from Energy balance
Net moisture balance = Moisture removed – Crop evaporation – fogging rate
= 301.58 – 50 - 100 = 151.58 g/ m2.h
Net moisture balance = Moisture removed – Crop evaporation – fogging rate
= 301.58 – 50 - 0 = 251.58 g/ m2.h
AHdif = 23.08 - 9.04 = 14.04 g/kg air
Moisture removed @given ventilation rate = 21.48 * 14.04 = 301.58 g/m2.h
Moisture Balance based on ventilation rate derived from energy balance

## Slide 16: Moisture Control
Moisture exhaust= Fan capacity x AHdif (g/m3)
= 10 m3/m2.h * (26.43 – 10.87) g/m3 = 155.6 g/m2.h
Moisture exhaust= Fan capacity x AHdif (g/kg) x densityinsideAir
= 10 m3/m2.h x (23.08 – 9.04) g/kg x (26.43/23.08) kg/m3 = 160.778 g/m2.h
Air density
= (26.43/23.08) = 1.1451473
Fan power = dP x (total flow/3600) / Efficiency
= 1000 x (1000/3600) /1 = 277.78 W
Fan power = = 100 x (1000/3600) /0.4 = 69.444 W
Heat Exchanger (HX) Power = f(dT, fan capacity)
If dT or fan capacity = 0, HXPower=0
HXPower=Cp*dT*(capacity/3.60)*densityin
= 1.001 * 12 * 10 /3.6* (26.43/23.08) = 38.2 W/m2
Elec. Consumption = HXPower *GHarea
= 38.21*100 = 3821 W
= 3821*3600/106 MJ/h
= 3.821*3.6 = 13.7556 MJ/h
10.87 | g/m³
26.43 | g/m³
dP
dP
dT = Tinside - Toutside

## Slide 17
Fan power = dP x (Total flow/3600)/ Efficiency
= 1000 x (160/3600) /1 = 44.44 W
Total flow = Capacity * GH area
Fan power = dP x (Total flow/3600)/ Efficiency
= 1000 x (0/3600) /1 = 0 W
Fan power = 200 x (160/3600) /0.5 = 17.78 W
Fan power = 200 x (1600/3600) /0.5 = 177.78 W
dP
dP
HXPower = Cp * dT * capacity/3.6 * density
= 1.001 * 1 * 1/3.6 * (11.54/9.63) = 0.333 W/m2
Elec.Consumption = HXPower *Gharea * 3.6/1000
= 0.3184*160 = 50.944 W= 50.944*3600/106
= 0.18336 MJ/h
11.54 g/m3

## Slide 18
When fan capacity = 0 m3/m2.h,
There is no air exchange between in & outdoor, thus, Moisture exhaust = 0
However, there still exist AH difference between indoor and micro-climate around crop AHdif = 24.43 – 23.08 = 1.35 g/kg
When Crop height =1 m, Air volume around crop per unit area (1 m2) = 1 m3
An empirical equation to derive Diffusion:
Diffusion = 0.214375 * AHdif * density /crop height
= 0.214375* 1.35 * 1.1449 /1 = 0.331 g/m2.h
Fan capacity = 0, air movement through crop = 0 cm/s
Total moisture transport (TMT) = Diffuse
density = 27.97/24.43 = 1.1449
density =29.5/25.79 = 1.1438
density = 27.97/24.43 = 1.1449
Diffusion = 0.214375 * 1.35 * 1.1449 /0.5 = 0.663
Diffusion = 0.214375 * 1.35 * 1.1449 /1 = 0.331
Diffusion = 0.214375 * 2.71 * 1.1438 /0.5 = 1.329
Diffusion = 0.214375 * 2.71 * 1.1438 /1 = 0.664

## Slide 19
Total moisture transport (TmT)
= moistureTransportfan + moistureTransportdiffuse
= Fan capacity * AH + Diffusion
in m3/m2.h * g/m3 + g/m2.h
Air movement = f(fan capacity)
1 m3/m2.h = 100 cm/3600 s = air movement 0.0277 cm/s
TmT = 1 * 27.9658 + 0.332 = 28.2978 ≈ 28.30 g/m2.h
10 m3/m2.h = 10 * 100/3600 = 1/3.6 = 0.2777 cm/s
TmT = 10 * 27.9658 + 0.332 = 279.99 g/m2.h
30 m3/m2.h = 30 * 100/3600 = 0.8333 cm/s
TmT = 30 * 27.9658 + 0.332 = 839.306 ≈ 839.31 g/m2.h

## Slide 20
Psychrometrics
Simulation models
Radiation monitor

## Slide 21: Introducing LetsGrow
Wei FANG
NTU_BME and Global ATGS
National Taiwan University
2022/03/16
Greenhouse Simulation
[ATGS 7140] Plant Factory – Theory and Practice
https://gpe.letsgrow.com/

## Slide 25
AHdif=12.47-9.04=3.43 g/kg
= 3.43 * (10.87/9.04)= 4.12 g/m3
Moisture exhaust= Flow * AHdif
= 5 * 4.12 = 20.6 g/m2.h

## Slide 26
Check
Moisture Control
of
Psychro diagram

## Slide 27
Energy consumption =
U*dT + Hfg * crop evaporation
= 7*2+2.49 kJ/g * 50 g/m2.h /3.6
= 14 + 34.58 = 48.58 W/m2
Heat of vaporization =
dEnthalpy / dAH
= 36.54 / 14.67 = 2.49 kJ/g
Gas consumption (Nature gas) =
= 48.74 * 104-3 * 3600 / (37377 heat value熱值 * 0.84 efficiency) = 48.74 * 36000 /(31672 kJ/m3) = 48.74/0.8797= 55.4 m3/ha.h

## Slide 28
Resulting U = 1/(1/7+1/6+1/6+1/6)=42/27=1.56
Resulting U = 1/(1/5+1/6+1/7+1/8)
=1.576
Q = U * dT = 1.576 * (20-18) = 3.15 W/m2
Gas consumption =
3.15 / 0.8797 = 3.58
Q = U * dT = 7* (20-18) = 14 W/m2
Gas consumption =
Q = U * dT = 1.56 * (20-18) = 3.12 W/m2
14 * 10* 3600 /(31672 kJ/m3) = 14/0.8797 = 15.9 m3/ha.h
Gas consumption =
3.11 / 0.8797 = 3.53 m3/ha.h

## Slide 29
Qin = (700 * 0.7 * 3.6) in kJ/m2.h
dEnthalpy = (51.16 – 40.61) in kJ/kg
Vent. rate = Qin / dEnthalpy
= (490 * 3.6) / (51.16-40.61) = 167.2 kg/m2.h ~ 166.17
dCO2 = 600-400=200 ppm = 200 * 1.522 mg/kg
CO2 loss = Vent.rate * dCO2/(106-4)
= 166.17 * (200*1.522)/100=505.8 kg/ha.h
Moisture exhaust = Vent.rate * dAH
= 166.17 * (12.47-9.04) = 569.96
Qin = (600 * 0.7 * 3.6) in kJ/m2.h
dEnthalpy = (51.16 – 40.61) in kJ/kg
Vent. Rate = Qin / dEnthalpy
= (420 * 3.6) / (51.16-40.61) = 143.31 kg/m2.h ~ 142.27
dCO2 = 500-400=100 ppm = 100 * 1.522 mg/kg
CO2 loss = Vent.rate * dCO2/100
= 142.27 * (100*1.522)/100=216.53 kg/ha.h
Moisture exhaust = Vent.rate * dAH
= 142.27 * (12.47-9.04) = 488.00

## Slide 30
Psychrometrics
Simulation models
Radiation monitor

## Slide 31: More models from WUR
https://www.glastuinbouwmodellen.wur.nl/radiationmonitor/?user=Lg_ENC_ext

## Slide 32
Enter ENF for degree F temperature input version
Enter ENC for degree C temperature input version

## Slide 33
https://www.glastuinbouwmodellen.wur.nl/radiationmonitor/Content/HlpEN.pdf
88 pages in total

## Slide 35
https://www.glastuinbouwmodellen.wur.nl/radiationmonitor/Content/HlpEN.pdf
88 pages in total

## Slide 36
started at page 5

## Slide 44
最後一頁技術相關資訊
之後的都是贊助商相關